## Q2 2022 Forum - Q&A Report
Q&A from June 21, 2023 BayREN Regional Forum - The Grid: What is it and Should it Shape Policy for All-Electric Buildings?
Disclaimer: We have removed duplicates and edited for readability and to remove personal information but have not fact-checked the content of this document. Answers include responses from attendees as well as presenters.
Question | Answer(s)
I've heard from neighbors that. when installing solar, they are told by PG&E that their system will tax the local grid too much and connection is either delayed or, in one case. asked to pay for a transformer upgrade. shouldn't the area utility be fully supportive of more distributed generation capacity and be more supportive of solar installations that are helping move us off fossil fuels? | We will hear more about that in the second panel today! also--theres no reason the PV system needs to be grid tied
What will the CRA v city of Berkeley lawsuit do to the local all-electric ordinances? | Berkeley filed a petition for rehearing en banc by the 9th Circuit Court. There are still a lot of questions about the possible implications.
Easy answer to stove question: plug-in induction cooktop can plug into a UPS! | Thanks!
Can the panelists talk about the CEC's California Electric Homes program, offering incentives for NEW buildings for electrification measures. I just learned yesterday that the some of the incentive levels get an adder if they're going to be installed in zones with all-electric codes. | We are not planning to cover incentive programs today, but to focus on the grid. There is a lot of information about the Electric Homes Program here: https://www.energy.ca.gov/programs-and-topics/programs/california-electric-homes-program-calehp
Electricity prices are already rising too fast. Won't all this electrification make our electricity bills go through the roof? Shouldn't local solar and storage to increase local grid reliability and help keep our electricity prices? | jim-- wouldn't increased electricity consumption on the margin push prices down? (but I suppose your question is electricity vs gas) Heat pumps are 3-4x as efficient as gas heating, Induction cooking is 80-90% efficient vs. 40% efficient for gas cooking, and EV's are +/- 80% efficient in terms of energy delivered to the wheels vs. 16-20% for a gasoline car. As the E3 study referenced by the panel found, electricity bills will increase, but total energy cost will decrease live answered
If codes requiring ZNE at the point of end-use are adopted, and enforced, why WOULDN'T the grid remain adequate to maintain reliability? Wouldn't the time-step for resolving ZNE simply need to be adjusted down (e.g., from annual to hourly, or perhaps even a shorter period at peak) for any problematic nodes of the grid where capacity may otherwise be challenged? In other words, why can't CPUC require the LSEs to deploy batteries and other load mananagement resources targeted to those nodes where they are needed the most? | "other load management resources," including especially V2G Evs this strikes me as a very apt question. the cynics might argue that while this is possible, why not ratebase much more extensive upgrades to solve the problem.
Is the case study available for us to read? | Here's the website: https://www.smcsustainability.org/energy-water/decarbonizing-homes/cost-plans/
Costco Stainless Wok + Max Burton Plug-in Induction Cooktop! | Thank you!
are the results of those use case studies available? | Yes! https://smcenergywatch.org/wp-content/uploads/All-Electric-Buildings-Best-Practices-Review.pdf
On key findings of the San Mateo County electrification case studies, was the oversizing of HVAC and undersizing of HPWH due to contractors' recommendations? Could a solution be contractor education? | Yes, absolutely due to a lack of contractor knowledge about new tech. Contractor education is very important...
South San Francisco has 230 biotech companies. The City very much wants to adopt reach codes for commercial buildings, but we need to know that there will be electrical capacity for this unique cluster. Can you speak to this? | I’ve found from bioTech developers that diirty gas has to be kept outside of their buildings. The only thing they want from dirty gas is to warm the replacement air they need in winter to keep labs from getting cold while they do ventilation. The big solution then is heat recovery from the warm air exhaust (from rooms and fume hoods) and two way heat pumps that use the exhaust air energy as the energy source in winter and as the energy sink in summer. This lets them downsize the heat pump capacity and makes then work well. See Redwood Energy Guide on commercial retrofits and commercial new construction.
What were the Efficiency measures undertaken in the SF examples? The eficiency effect seemed very substantial. | live answered
From the SF study, the increase in efficiency is the main componant in making total electrification work. what kind of effort is offered to help the public,residential and commercial, to really maximize their efficiency?
All electric buildings are great. I'm curious about what is the transition plan/strategy to switch away from fossil fuels to power these all electric buildings. Thank you!
This is a comment - we in a Hillsborough are 100% residential and we regularly have PG&E delays. We can not be talking about electrification if we can not complete projects due to PG&E. What is the plan to get their install times cleaned up? | We found that if you electrify efficiently (like in the SM County study and in the PCE guide https://www.peninsulacleanenergy.com/wp-content/uploads/2023/02/Design-guidelines-for-home-electrification-v021023.pdf. that you don’t need to work with PG&E to upsize anything. It takes deliberate thought. But it saves time and money.
The results of the SF study are really interesting, and help to show us the implications of building electrification. I am wondering though what it would look like if we layer in vehicle charging? Looking at the commercial/industrial areas of Fremont, if we focused on electrifying the non-core end uses of those buildings we may get similar results. However, if we considered electrification of the vehicle fleets of those manufacturers, plus the long term electrification of the core industrial processes, I imagine the results would be very different. While the electrification of industrial processing is likely still far down the road, fleet electrification could happen much sooner. Are there any studies that factor this in?
You mentioned a scientific paper based on the Fisherman’s Wharf study - could you provide a reference? Thank you
One of the presenters mentioned there being apossible decrease in energy costs when goign to a full lectric household but my personal bill has larger charges for distribution costs of the enrgy I consume than the actual energy use cost. May you expand upon how the distribution charge could possibly decrease? Or what you meant by a decrease in utility costs | distribution charges are typically volumetric charges that paying off fixed cost. at a fundamental level if you're consuming more electricity, then those costs don't increase and that will have a downward pressure on rates. but in reality... that effect isn't immediate And there's a lot of other stuff going on in the meantime
Is the State of CA likely to implement state-wide commercial Reach Codes with the next code cycle, creating a level playing field with respect to developers selecting cities in which to develop? | The state is likely to continue transitioning the “base code” toward more electric in order to meet the climate preservation goals. Cities and Counties will still be able to make Reach Codes that go beyond the base code. The state is just starting work on the 2025 Energy Code update, which needs to be developed before reach codes can be figured out. a statewide reach code is a contradiction in terms reach codes are inherently local
I am still learning about this space. How does the impact to the climate differ between using non-renewable electricity vs standard heater in a home or gas from a car? | An 80% efficient natural gas heater needs 1.25 Therms of gas to make a therm of heat. The wells and pipes to move 1.25 therms of mthane gas to the heater leak about 2%-11% of the gas) let’s assume 5% of the gas. The leaked gas is 31 times worse per therm as even burning the gas 31= (86 GWP X 16/44 ). The combined warming from leaking some gas and burning the rest in a furnace is 30 pounds of CO2e per therm. this is 2.56 X the combustion emissions. 2.56 = ( 1 + 31 X .05 ) X 11.6 lb. CO2e/Therm combusted. But the renewable electricity has zero operating emissions. The renewable system and the fossil system both have components that need to be made in factories with emissions. That’s just modern life until we finish electrifying factories etc. Electricity is very clean compared to gas. At the statewide level, in 2018 electrification could reduce carbon emissions 40%. https://www.energy.ca.gov/sites/default/files/2021-08/AB3232_Building_Decarbonization_Assessment_Factsheet_ADA.pdf In the subsequent years, the renewable content of power generation has continued to increase. So at the most conservative level - statewide - heat pumps reduce emissions. At a local level, Bay Area counties are served by Community Choice Aggregation programs that purchase MUCH more renewable power than the statewide average. As one example, CleanPowerSF in San Francisco offers 100% renewable SuperGreen service, and in 2021 the basic ‘Green’ service obtained 93% of generation from zero-emission sources. https://www.energy.ca.gov/sites/default/files/2021-08/AB3232_Building_Decarbonization_Assessment_Factsheet_ADA.pdf
Have we not found that to meet peak usage with solar, the array would need storage? | yes, but which peak are you referring to? Yes, and in fact all new construction under the current energy code requires battery systems in most cases.
Can someone add a link to the CEC study on rates decreasing that the last speaker mentioned to the chat? | https://www.energy.ca.gov/sites/default/files/2021-06/CEC-500-2019-055-F.pdf See pages 55-56 in particular, though there are a lot of insightful charts throughout the study
Do the IOUs make their profit on maintenance as well as new "pipes and wires"? | Jim, For “Decoupled utilities in California and 26 other states, I believe Fuel costs, and O&M costs are just straight costs pass throughs to customers. I believe the ROI to the IOUs is just the allowed rate of return (around 10% per year) times the book value of the depreciating asset base of poles and wires and transformers, etc. Can we have an IOU rep and or a CPUC rep also answer this question for added credibility?
Are the CPUC and IOUs doing anything to improve grid operational efficiency and reduce the Revenue Requirement (i.e., improve the overall efficiency of the T&D infrastructure)? | Short answer: No. Shareholders have no incentive to reduce IOU profitability, and the CPUC is effectively a captured regulatory institution. As a result, T&D expenses are becoming a growing % of overall customer rates, and costs are escalating out of control. So doing the more efficient electrification without upsizing the panels, avoids, reduces or defers the utility “need” to upsize as much of the distribution grid. The 120V power efficient HPWH avoids the need to increase capacity as much as the high power 30 Amp 240V HPWH. That is not what the IOUs, CPUC, and their so-called "environmental" allies (NRDC, EDF, etc.) are emphasizing. Intead they argue we need to massively increase T&D infrastructure throughout the western states, so that profitable large power plants can be built on cheaper land far beyond the authority of CA's legislators... and this will greatly INCREASE the RR that Peter identified as "fundamental" to the IOUs' business logic.
so the IOUs collect profits that are worked into the rates too just like NEM incentives and reduced charges to low income ratepayers. why are these new er on the table? why are entities that are guilty of manslaughter receiving billions in guaranteed profits while the CPUCuncreases every ratepayers bills. PG&E mafe over 16 billion in profit for 2021 and has continued to make record profits. Doesn't this create a problem for moving to a more distri used and resilient grid? Dobt urrent profit incentives motivate IOUsto keep e siting monopolistic approaches in place which work against environmental sustainability and rate stabalization?
What role does “re-conductoring” (more efficient/higher capacity) play in grid upgrades?
What was the rationale and justification for the drastic rate increase for NEMIII program, as compared to NEMII?
How often are these complete forecasts conducted?
How can renewable electricity from residential solar be shipped to the commercial and industrial districts that are still having peak demands at 2pm?
For existing residential single-family homes doing a simple panel upgrade, what are average "capacity upgrade" timelines? What about for apartment buildings needing upgrades for EV charging, heat pumps, etc.?
Why can't PG&E integrate expected load into planning and start siting and upgrading resources before interconnection is requested?
How might PG&E team up with Counties, CCAs, Cities to encoureage distribution-grid-freindly versions of retrofitting homes and biuldings and putting in smarter/ better sized home EV chargers? e.g. How might PG&E help promote more efficient electrification?
For the small customers like single family homes, what si the reason for the reidiculous panell upgrade lead times? if it is staff shortage, what is PG&E doing to resolve that? these delays are cauing people to not convert existing buildings to all electric.
How can local governments get localized reliability data, so that we can communicate with our constituents what reliability really looks like? That would help inform perception of outages more broadly, vs. actuality on the ground in each community
For the resilience discussions, don't forget some day we'll finally get that big earthquake.
Workplace EV charging could utiliize the belly of the “duck” to charge vehicles —and then play a role in V2G grid support once the vehicles arrive “home”. That seems like an important feature, not a “bug”. Am I being too optimistic?
are there now, or in consideration in the future, rate plans that would incentive residential customers with batteries (either with or without solar) to supply energy to the grid in peak demand times? | Clarification - I wanted to know about rates for battery without solar as well. It is my understanding that you can't charge your battery from the grid and then sell the energy back later - arbitrage it.
The BayREN multifamily program has been pretty successful, yes? | Yes
Re PG&E outages caused by animals... Why, in 2023, do the unprotected leads on the transformer across the street from my house repeatedly kill a squirrel every 1-3 years (knocking out power to my block)? Isn't there a cheap protective device available that could be installed to reduce the frequency of these nuisance outages? Is solving this problem beyond the engineering or financial capacity of PG&E, or are there actually RR-related incentives for perpetuating this status quo? | As I understand Darwinism, The transformer industry is in the process of breeding smaller squirrels in your neighborhood. :) Or they could redesign future transfomers (with the high voltage leads further apart) to accomodate growing size of squirrels. Unfortunately we have a catch-22; our local squirrels have not been able to achieve UL-listing, nor will IBEW allow them into their pre-apprenticeship program.
For our PG&E panelist, are there any jurisdictions that are currently efficently collaborating with PG&E early in the Permit process for EIRs and CEQA that others could look to for best practices?
John Sarter's question was an important one -- the potential for using the HGE EV battery fleet to stabilize the grid is finally now coming to have the technology, and thus policy and planning must follow.
What levers might regional government and cities/counties use to get PG&E to respond more quickly to the approvals for capacity upgrades? This appears to be a major obstacle to electrification. Perhaps fines if approavlas are not completed within a tighter timeline than now appears to be the cae?
Given the over-production problem by PV's, does PG&E have any plans to offer battery incentives in the near future? | My understanding is that the Net-Energy Metering (NEM) III rate is a de facto battery incentive program. Speakers may wish to comment?
Are the cities with their own power companies doing better with wait time for panel upgrades, like Palo Alto and Santa Clara,? If so, itsn't that a reason to de-monopolize power companies like PG&E? | Excellent question. Is the CPUC (or CEC, under its research authorities) benchmarking service upgrade performance across the various IOU and municipally operated distribution utilities? With bottlenecks having become such an issue, where are/will these key performance metrics be aggregated?
Can PG&E share the timing and location of the local distribution peaks with local jurisdictions to assist with planning?
How should local jurisdictions notify PGE about planned load for city facilities and local development?
AB 205 has required a process to shift charges from variable to fixed rates. The justification is that the marginal social cost of electricity is actually lower than the variable rate (per UC Berkeley research by Borenstein). Is there any concern that the grid won't be able to handle a large increase in load driven by lower variable costs? I.e., that the marginal cost data may not apply in the longer term, or at certain times, or in certain locations?
By some accounts, NEMIII is a 75% rate increase over NEMII. How can it be a battery program when no specific incentives nor accommodations are included in the program?
Can PG&E supply those maps of there their service lines to buildings are burried and for all service lines, chanthe provide the wire amperage rating since they own all those overhead service wires and underground service wires? That will show entities where the Watt Diet will be a super cost saver.